## Energy Calculations
Customer
| Inputs |  | IDP MODEL | UNITS
FLOW |  |  | 1000 | GPM
HEAD |  |  | 180 | FEET
PUMP EFFICIENCY |  |  | 0.82 | PERCENTAGE e.g. .75
MOTOR EFFICIENCY |  |  | 0.949 | PERCENTAGE e.g. .75
HOURS OF OPERATION per YEAR |  |  | 8760 | HOURS (8760 hours/year)
ELECTRICITY COST Cents/KW*HR) |  |  | 0.08 | e.g. .08 is TYPICAL
EXPECTED LIFE OF UNIT |  |  | 20 | YEARS
|  |  | COMPETITOR | UNITS
FLOW |  |  | 1000 | GPM
HEAD |  |  | 180 | FEET
PUMP EFFICIENCY |  |  | 0.77 | PERCENTAGE e.g. .75
MOTOR EFFICIENCY |  |  | 0.915 | PERCENTAGE e.g. .75
HOURS OF OPERATION per YEAR |  |  | 8760 | HOURS
ELECTRICITY COST Cents/KW*HR) |  |  | 0.08 | e.g. .08 is TYPICAL
EXPECTED LIFE OF UNIT |  |  | 20 | YEARS
RESULTS
YEARLY COST TO OPERATE IDP PUMP |  |  | 30537.2676
YEARLY COST TO OPERATE COMPETITOR PUMP |  |  | 33728.6082
| ANNUAL SAVINGS |  | 3191.3406
|  | % SAVINGS | 9.462%
| LIFETIME SAVINGS |  | 63826.8118
(Not corrected for inflation)